## Unit-2
S.No. | Process Area | Machine No. | PLC Availability | PLC Make | PLC Model | Remark
1 | TBB Tyre Building | J-1 | Yes | Mitsubishi | FX2N | Model: FX2N-64MR PLC Communication: RS232 (Midi Din) Used for HMI Communication. No any external Communication port available. Programming software Used: GX Developer
2 | TBB Tyre Building | J-2 | Yes | Mitsubishi | FX2N
3 | TBB Tyre Building | J-3 | Yes | Mitsubishi | FX2N
4 | TBB Tyre Building | J-4 | Yes | Mitsubishi | FX2N
5 | TBB Tyre Building | J-5 | Yes | Mitsubishi | FX2N
6 | TBB Tyre Building | J-6 | Yes | Mitsubishi | FX2N
7 | TBB Tyre Building | J-7 | Yes | Mitsubishi | FX2N
8 | TBB Tyre Building | J-8 | Yes | Mitsubishi | FX2N
9 | TBB Tyre Building | J-9 | Yes | Mitsubishi | FX2N
10 | TBB Tyre Building | J-10 | Yes | Mitsubishi | FX2N
11 | TBB Tyre Building | J-11 | Yes | Mitsubishi | FX2N
12 | TBB Tyre Building | J-12 | Yes | Mitsubishi | FX2N
13 | TBB Tyre Building | J-13 | Yes | Mitsubishi | FX2N
14 | TBB Tyre Building | J-14 | Yes | Mitsubishi | FX2N
15 | TBB Tyre Building | J-15 | Yes | Mitsubishi | FX2N
16 | TBB Tyre Building | J-16 | Yes | Mitsubishi | FX2N
17 | TBB Tyre Building | J-17 | Yes | Mitsubishi | FX2N
18 | TBB Tyre Building | J-18 | Yes | Mitsubishi | FX2N
19 | TBB Tyre Building | J-19 | Yes | Mitsubishi | FX2N
20 | TBB Tyre Building | J-20 | Yes | Mitsubishi | FX2N
21 | TBB Tyre Building | J-21 | Yes | Mitsubishi | FX2N
22 | TBB Tyre Building | J-22 | Yes | Mitsubishi | FX2N
23 | TBB Tyre Building | J-23 | Yes | Mitsubishi | FX2N
24 | TBB Tyre Building | J-24 | Yes | Mitsubishi | FX2N
25 | TBB Tyre Building | J-25 | Yes | Mitsubishi | FX2N
26 | TBB Tyre Building | J-54 | Yes | Mitsubishi | FX2N
27 | TBB Tyre Building | J-55 | Yes | Mitsubishi | FX2N
28 | TBB Tyre Building | J-56 | Yes | Mitsubishi | FX2N
29 | TBB Tyre Building | OTR-1 | Yes | ALLEN BREDLEY | SLC500 | Communication RS232 used For HMI Communication, No external Communication Module Available Programming Software Used: RS Logix
1 | LCV Tyre Building | AMCL-1 | Yes | Mitsubishi | FX2N | Model: FX2N-64MR PLC Communication: RS232 (Midi Din) Used for HMI Communication. No any external Communication port available. Programming software Used: GX Developer
2 | LCV Tyre Building | AMCL-2 | Yes | Mitsubishi | FX2N
3 | LCV Tyre Building | AMCL-3 | Yes | Mitsubishi | FX2N
4 | LCV Tyre Building | AMCL-4 | Yes | Mitsubishi | FX2N
5 | LCV Tyre Building | AMCL-5 | Yes | Mitsubishi | FX2N
6 | LCV Tyre Building | AMCL-6 | Yes | Mitsubishi | FX2N
7 | LCV Tyre Building | LNT-1 | Yes | Mitsubishi | FX2N
8 | LCV Tyre Building | LNT-2 | Yes | Mitsubishi | FX2N
9 | LCV Tyre Building | LNT-3 | Yes | Mitsubishi | FX2N
10 | LCV Tyre Building | LNT-4 | Yes | Mitsubishi | FX2N
11 | LCV Tyre Building | LNT-5 | Yes | Mitsubishi | FX2N
12 | LCV Tyre Building | AMCL-7 | Yes | Mitsubishi | FX5U | Machine refubrishment work is ongoing
13 | LCV Tyre Building | AMCL-8 | Yes | Mitsubishi | FX5U | Machine refubrishment work is ongoing

## Unit-4
S.NO | Process Area | Machine No. | PLC Availability | PLC Make | PLC Model | Remark
1 | CFE 1 | Cold Feed Extruder-1 (LINE) | Yes | SIEMENS | 315-2-DP
| CFE 1 | Cold Feed Extruder-1( EXTRUDER) | Yes | SIEMENS | 313C-2DP
| CFE 1 | Cold Feed Extruder-1 (SKIVER) | Yes | SIEMENS | 313C-2DP
2 | CFE 2 | Cold Feed Extruder-2( LINE) | Yes | SIEMENS | 315-2-DP
| CFE 2 | Cold Feed Extruder-2 (EXTRUDER) | Yes | SIEMENS | 313C-2DP/1214PN
| CFE 2 | Cold Feed Extruder-2 (CUSHION CALENDER) | Yes | SIEMENS | 313C-2DP
| CFE 2 | Cold Feed Extruder-SKIVER | Yes | SIEMENS | 313C-2DP | Machine upgradation work is ongoing
3 | 2 Roll Calender -1 | 2 Roll Calender | Yes | SIEMENS | 313C-2DP
| 2 Roll Calender -1 | 2 Roll Calender (line) | Yes | SIEMENS | 313C-2DP
4 | 2 Roll Calender -2 | 2 Roll Calender | Yes | SIEMENS | 1515-2PN
5 | 2 Roll Calender -3 | 2 Roll Calender | Yes | SIEMENS | 313C-2DP
| 3 Roll Calender -3 | 2 Roll Calender -line | Yes | SIEMENS | 313C-2DP
6 | Bias Cutter | Bias Cutter -1 | Yes | SIEMENS | S7-300(313-C-2DP)
7 | Bias Cutter | Bias Cutter -2 | Yes | SIEMENS | S7-300(313-C-2DP)
8 | Bias Cutter | Bias Cutter -3 | Yes | SIEMENS | S7-300(313-C-2DP)
9 | Bead Winding | Bead Winding-1 | Yes | Mitsubishi | FX3U-64MR
10 | Bead Winding | Bead Winding-2 | Yes | Mitsubishi | FX2N-64 MR
11 | Fabric Cutter | Multislitter | Yes | SIEMENS | S7-200(224 -DC/DC/DC)
12 | Fabric Cutter | Long Cutter | Yes | Mitsubishi | fx3G-24m
13 | Fabric Cutter | Multislitter | Yes |  |  | New Machine
14 | Building | STU-1 | Yes | Mitsubishi | FX2N-84MR
15 | Building | STU-2 | Yes | Mitsubishi | FX5U-84 MT
16 | Building | STU-3 | Yes | Mitsubishi | FX2N-84MR
17 | Building | STU-4 | Yes | Mitsubishi | FX2N-84MR
18 | Building | STU-5 | Yes | Mitsubishi | FX2N-84MR
19 | Building | STU-6 | Yes | Mitsubishi | FX2N-84MR
20 | Building | STU-7 | Yes | Mitsubishi | FX2N-84MR
21 | Building | STU-8 | Yes | Mitsubishi | FX2N-84MR
22 | Building | STU-9 | Yes | Mitsubishi | FX2N-84MR
23 | Building | STU-10 | Yes | Mitsubishi | FX2N-84MR
24 | Building | STU-11 | Yes | Mitsubishi | FX2N-84MR
25 | Building | STU-12 | Yes | Mitsubishi | FX2N-84MR
26 | Building | STU-13 | Yes | Mitsubishi | FX2N-84MR
27 | Building | STU-14 | Yes | Mitsubishi | FX2N-84MR
28 | Building | STU-15 | Yes | Mitsubishi | FX2N-84MR
29 | Building | BTU-16 | Yes | Mitsubishi | FX2N-84MR
30 | Building | STU-17 | Yes | Mitsubishi | FX2N-84MR
31 | Building | STU-18 | Yes | Mitsubishi | FX2N-84MR
32 | Building | STU-19 | Yes | Mitsubishi | FX2N-84MR
33 | Building | STU-20 | Yes | Mitsubishi | FX2N-84MR
34 | Building | STU-21 | Yes | Mitsubishi | FX2N-84MR
35 | Building | STU-22 | Yes | Mitsubishi | FX2N-84MR
36 | Building | STU-23 | Yes | Mitsubishi | FX2N-84MR
37 | Building | BTU-24 | Yes | Mitsubishi | FX2N-84MR
38 | Building | BTU-25 | Yes | Mitsubishi | FX2N-84MR
39 | Building | BTU-26 | Yes | Mitsubishi | FX2N-84MR
40 | Building | BTU-27 | Yes | Mitsubishi | FX2N-84MR
41 | Building | STU-28 | Yes | Mitsubishi | FX2N-84MR
42 | Building | STU-29 | Yes | Mitsubishi | FX2N-84MR
43 | Building | STU-30 | Yes | Mitsubishi | FX2N-84MR
44 | Building | STU-31 | Yes | Mitsubishi | FX2N-48MR
45 | Building | STU-32 | Yes | SIEMENS | S7-1200(1214C-DC/DC/DC)
46 | Building | STU-33 | Yes | SIEMENS | S7-1200(1214C-DC/DC/DC)
47 | Building | STU-34 | Yes | SIEMENS | S7-1200(1214C-DC/DC/DC)
48 | Building | RB1-1 | No | NA | NA
49 | Building | RB1-2 | No | NA | NA
50 | Building | RB1-3 | No | NA | NA
51 | Building | RB1-4 | No | NA | NA
52 | Building | RB1-5 | No | NA | NA
53 | Building | RB1-6 | No | NA | NA
54 | Building | STU-35 | Yes |  |  | New Machine
55 | Building | STU-36 | Yes |  |  | New Machine
56 | Building | RB1-7 | Yes |  |  | New Machine
57 | Building | RB1-8 | Yes |  |  | New Machine
58 | Building | RB1-9 | Yes |  |  | New Machine
59 | Curing | K-12 | Yes |  |  | New Machine
60 | Curing | K-13 | Yes |  |  | New Machine
61 | Curing | O-21 | Yes |  |  | New Machine
62 | Curing | O-22 | Yes |  |  | New Machine
63 | Curing | O-23 | Yes |  |  | New Machine
64 | Curing | Q-21 | Yes |  |  | New Machine
65 | Curing | Q-22 | Yes |  |  | New Machine
66 | Curing | Q-23 | Yes |  |  | New Machine
85 | Balancing | Balancing-1 | Yes | ALLEN BREDLEY | COMPACT LOGIX(L18ERM)
86 | Balancing | Balancing-2 | Yes | ALLEN BREDLEY | COMPACT LOGIX(L27ERM-QBFC1B)
87 | Balancing | Balancing-3 | Yes | ALLEN BREDLEY | COMPACT LOGIX(L27ERM-QBFC1B)
88 | Balancing | Balancing-4 | Yes | ALLEN BREDLEY | COMPACT LOGIX(L27ERM-QBFC1B)
89 | Balancing | Balancing-5 | Yes | ALLEN BREDLEY | COMPACT LOGIX(L27ERM-QBFC1B)
90 | Balancing | Balancing-6 | Yes | ALLEN BREDLEY | COMPACT LOGIX(L18ERM)
91 | Balancing | Balancing-7 | Yes | ALLEN BREDLEY | COMPACT LOGIX(L18ERM)
92 | Balancing | Balancing-8 | Yes | ALLEN BREDLEY | COMPACT LOGIX(L27ERM-QBFC1B)
93 | Balancing | Balancing-9 | Yes | ALLEN BREDLEY | COMPACT LOGIX(L27ERM-QBFC1B)
94 | Balancing | Balancing-10 | Yes | ALLEN BREDLEY | COMPACT LOGIX(L27ERM-QBFC1B)
95 | Runout | Runout-1 | Yes | Mitsubishi | FX5U-64M
96 | Runout | Runout-2 | Yes | Mitsubishi | FX5U-64M
97 | Runout | Runout-3 | Yes | Mitsubishi | FX3G-60M
98 | Runout | Runout-4 | Yes | Mitsubishi | FX3U-64M
99 | Runout | Runout-5 | Yes | Mitsubishi | FX3U-64M
100 | Runout | Runout-6 | Yes | OMRON | NJ101
101 | Runout | Runout-7 | Yes | OMRON | NJ101
102 | Runout | Runout-8 | Yes | OMRON | NJ101
103 | Runout | Runout-9 | Yes | OMRON | NJ101
104 | Runout | Runout-10 | Yes | OMRON | NJ101
105 | Runout | Runout-11 | Yes | OMRON | NJ101
106 | 2nd Line Inspection | Inspection-1 |  |  |  | Future Planning
107 | 2nd Line Inspection | Inspection-2 |  |  |  | Future Planning
108 | 2nd Line Inspection | Inspection-3 |  |  |  | Future Planning
109 | 2nd Line Inspection | Inspection-4 |  |  |  | Future Planning
110 | 2nd Line Inspection | Inspection-5 |  |  |  | Future Planning
111 | 2nd Line Inspection | Inspection-6 |  |  |  | Future Planning
112 | 2nd Line Inspection | Inspection-7 |  |  |  | Future Planning
113 | 2nd Line Inspection | Inspection-8 |  |  |  | Future Planning
114 | 2nd Line Inspection | Inspection-9 |  |  |  | Future Planning